ASSEMBLY INSTRUCTION

ITEM：EP22787

Ensure all power supply is disconnected, turn electricity off at the circuit breaker or fuse box and review the instructions before installation. The installation must be handled by a qualified licensed electrician. Also, be sure to turn off power before changing the bulb or cleaning the fixture.

- Put the fabric shade(3) into the socket(4) ,and lock it tight by using the socket ring(2).

2.  Insert the bulb (1)(Note: Do not exceed the maximum wattage)