ITEM：EP23332

ASSEMBLY INSTRUCTION

Please turn off power to the outlet and review instructions before installation. The installation must be handled by a qualified licensed electrician. Also, be sure to turn off power before changing the bulb or cleaning the fixture.

- Fix the the mounting strip(1) to the outlet box by using the support screw (2).

- Connect the wire by using the wire connectors (3). (Note: Connect the black wire to the black(Live) , the white wire to the white(Neutral), and the ground wire to the ground post). Please pay attention to avoid the wire exposing outside when wiring connections.

- Lock the lamp body(5) to the wall by using the screw(4).

- Unscrew the screw(6), and remove the lamp shade(7).

- Insert the bulb (8).

- Lock the lamp shade(7) by using the screw(6), and install the finial(9).